## Batteries
battery_id | brand | model | supplier | delivery_date | capacity_ah | tested_voltage | internal_res_mohm | tested_capacity | soh_pct | current_site | action | remarks | date_fitted | last_moved_date | previous_site | status
Elecsol-110-001 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.6 | 4.2 | 105 | 92 | Ballinakill |  |  | 24/08/2021 | 15/03/2021 | Bagenalstown | Active
Elecsol-110-015 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 |  |  |  |  | Recycled | Recycled | Tested faulty. Recycled 27-07-2021 | N/A | 27/07/2021 | Maidenhead | Decommissioned

## Movements
battery_id | hop | from_site | to_site | date_removed | date_installed | reason
Elecsol-110-001 | 1 | Bagenalstown | Ballinakill | 15/03/2021 | 24/08/2021 | Redeployment

## Readings
battery_id | reading_date | voltage | soh_pct | source

## Outages
site_id | outage_date | start_time | duration_hours | site_shut_down | devices_off | voltage_when_back | remarks
Ballinakill | 12/05/2024 | 14:30 | 3.5 | No | Yes | 11.9 | grid trip

## Sites
site_id | region | power_setup | grid_available
Ballinakill
Bagenalstown
Maidenhead
Gorteen
Ballygunteen
Bolthu Hill