## Batteries
battery_id | brand | model | supplier | delivery_date | capacity_ah | tested_voltage | internal_res_mohm | tested_capacity | soh_pct | current_site | action | remarks | date_fitted | last_moved_date | previous_site | status
Elecsol-110-001 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12 | 7 | 93 |  | Recycled | Recycled | Leaking electrolyte | 24/08/2021 | 15/03/2021 | Bolthu Hill | Decommissioned
Elecsol-110-002 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 |  |  | 96 | 36 | Maidenhead |  |  |  | 15/03/2021 | Gorteen | Active
Elecsol-110-003 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 11.83 |  |  | 67 | Bagenalstown | Removed |  | 24/08/2021 |  | Gorteen | Active
Elecsol-110-004 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 | 12.54 |  | 103 |  | Stock | Stock | Tested faulty |  | 15/03/2021 |  | Active
Elecsol-110-005 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.26 | 5.7 |  | 92 | Gorteen | Keep |  |  |  | Ballygunteen | Active
Elecsol-110-006 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 | 12.65 |  |  | 40 | Bagenalstown |  | Leaking electrolyte | 24/08/2021 | 15/03/2021 | Ballygunteen | Active
Elecsol-110-007 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.05 |  | 110 |  | Maidenhead | Keep | ok | 24/08/2021 | 15/03/2021 |  | Active
Elecsol-110-008 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 |  | 4.5 |  | 65 | Ballygunteen |  |  | 24/08/2021 |  |  | Active
Elecsol-110-009 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 | 12.21 |  | 104 | 92 | Stock | Stock | Tested faulty | 24/08/2021 | 15/03/2021 | Maidenhead | Active
Elecsol-110-010 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.15 | 3.9 | 91 | 37 | Ballinakill |  | Tested faulty | 24/08/2021 | 15/03/2021 | Bolthu Hill | Active
Elecsol-110-011 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.49 | 6.7 |  |  | Bagenalstown | Keep |  | 24/08/2021 | 15/03/2021 | Bolthu Hill | Active
Elecsol-110-012 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 |  |  | 97 |  | Recycled | Recycled |  |  | 15/03/2021 | Bolthu Hill | Decommissioned
Elecsol-110-013 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 |  | 7 | 96 | 78 | Maidenhead |  |  |  | 15/03/2021 | Ballinakill | Active
Elecsol-110-014 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 | 12.04 |  | 100 | 56 | Ballygunteen |  |  | 24/08/2021 |  |  | Active
Elecsol-110-015 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.51 | 4.5 |  |  | Ballygunteen | Removed | Leaking electrolyte |  |  | Ballygunteen | Active
Elecsol-110-016 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 |  | 6.1 |  | 44 | Bolthu Hill |  |  | 24/08/2021 | 15/03/2021 | Ballinakill | Active
Elecsol-110-017 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.8 | 6.6 | 100 | 51 | Stock | Stock |  | 24/08/2021 | 15/03/2021 |  | Active
Elecsol-110-018 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.67 | 8.5 | 101 |  | Gorteen | Keep |  | 24/08/2021 | 15/03/2021 |  | Active
Elecsol-110-019 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 |  | 4.3 | 106 | 89 | Bagenalstown |  | ok | 24/08/2021 | 15/03/2021 | Gorteen | Active
Elecsol-110-020 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.73 | 4.6 | 107 | 56 | Ballygunteen | [5 empty] | Active
Elecsol-110-021 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 11.87 | 5.8 |  | 86 | Ballinakill |  |  | 24/08/2021 | 15/03/2021 | Gorteen | Active
Elecsol-110-022 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 11.94 |  |  | 59 | Bagenalstown | Removed |  | 24/08/2021 | 15/03/2021 |  | Active
Elecsol-110-023 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.71 | 6.5 | 107 | 60 | Ballygunteen |  |  | 24/08/2021 | 15/03/2021 |  | Active
Elecsol-110-024 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 | 11.91 |  |  | 59 | Bolthu Hill | Keep | ok | 24/08/2021 |  | Bolthu Hill | Active
Elecsol-110-025 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.7 | 7.4 | 100 | 47 | Ballinakill |  | Tested faulty | 24/08/2021 |  | Ballygunteen | Active
Elecsol-110-026 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 | 12.72 |  |  | 53 | Recycled | Recycled | Leaking electrolyte | 24/08/2021 | 15/03/2021 |  | Decommissioned
Elecsol-110-027 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 | 12.02 |  | 96 |  | Gorteen | Keep |  |  | 15/03/2021 | Bolthu Hill | Active
Elecsol-110-028 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 | 12.8 | 7.8 |  | 99 | Gorteen | Removed |  | 24/08/2021 | 15/03/2021 |  | Active
Elecsol-110-029 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.89 |  |  | 73 | Bolthu Hill |  | ok | 24/08/2021 | 15/03/2021 | Gorteen | Active
Elecsol-110-030 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 | 12.06 | 6.3 |  |  | Bagenalstown |  |  | 24/08/2021 | 15/03/2021 | Gorteen | Active
Elecsol-110-031 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.85 |  | 95 | 91 | Bagenalstown |  |  | 24/08/2021 |  | Gorteen | Active
Elecsol-110-032 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.11 |  | 97 | 71 | Bolthu Hill | Removed | ok | 24/08/2021 | 15/03/2021 |  | Active
Elecsol-110-033 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 |  | 6.4 |  | 44 | Bolthu Hill |  | Tested faulty |  | 15/03/2021 |  | Active
Elecsol-110-034 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.53 | 4.9 |  | 80 | Ballinakill |  | Tested faulty | 24/08/2021 |  | Ballinakill | Active
Elecsol-110-035 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.6 |  |  | 99 | Ballygunteen |  | Tested faulty |  |  |  | Active
Elecsol-110-036 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 | 12.63 |  | 101 | 39 | Ballinakill |  |  | 24/08/2021 | 15/03/2021 | Ballinakill | Active
Elecsol-110-037 | Elecsol | Carbon Fibre Monoblock | unknown |  | 110 | 12.69 | 7.1 |  | 62 | Recycled | Recycled |  | 24/08/2021 |  |  | Decommissioned
Elecsol-110-038 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 |  | 5.2 |  | 90 | Bagenalstown | Removed |  |  | 15/03/2021 |  | Active
Elecsol-110-039 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.83 | 5.9 | 99 | 76 | Bagenalstown |  |  | 24/08/2021 |  |  | Active
Elecsol-110-040 | Elecsol | Carbon Fibre Monoblock | unknown | Unknown | 110 | 12.72 | 4.5 | 99 | 59 | Stock | Stock | Leaking electrolyte | 24/08/2021 | 15/03/2021 | Bolthu Hill | Active

## Movements
battery_id | hop | from_site | to_site | date_removed | date_installed | reason

## Readings
battery_id | reading_date | voltage | soh_pct | source

## Outages
site_id | outage_date | start_time | duration_hours | site_shut_down | devices_off | voltage_when_back | remarks

## Sites
site_id | region | power_setup | grid_available
Ballinakill
Bagenalstown
Maidenhead
Gorteen
Ballygunteen
Bolthu Hill